I .  Separation Techniques (chapter 5 of V-H and notes from elsewhere)

  - General Principles

    - –fv + F = 0 or F = fv

(terminal velocity, -Fb = -bv, a = 0, F = eE or “centrifugal + buoyant”).

    - For sphere, Stoke’s law

f0  = 6R, where  = viscosity (g/cm.s = poise).  Water = 1 cp.

For others, f = f0, where  is obtained from table 5.1  The smallest frictional drag is from a sphere and  gives the drag for another type of particle with an equivalent volume (4/3 Re3).

e.g.  Prolate ellipsoid.

, f0  = 6Re, Re = (ab2)1/3, P = a/b.

  - Sedimentation

    - Forces

Fc = "centrifugal" force, really acceleration, mv2/r.

v = r ( Fc = mr2

Fb = buoyant force = “weight” of displaced fluid = mor2

Fd = frictional force = -fv

Ignore gravity

-Fb-Fd = - mv2/r or Fc-Fb-Fd = 0.

( mr2 - mor2 –fv = 0.

( mr2 (1-) -fv = 0, with  = specific volume ~ volume/mass of substance in solution (V/m).

 = mo/V, V = volume.

Mulitply by Avogadro’s number, R = NA.

mNA = M (molecular weight) [m = g/molecule, M = g/mole, NA = # molecules/mole].

( M(1-) r2 – NAfv = 0

( ***

1- is the buoyancy factor ~ 1- o/ (if o >  then it floats).

s = sedimentation coefficient, [s] = Svedberg, 1 x 10-13 sec = 1 Svedberg.

    - Determining s

      - Analytical centrifuge – absorption

      - vb = drb/dt = 2srb, where the subscript b signifies the boundary (so rb is the boundary between solvent and solution).

***

So plot ln(rb) vs t and get slope which is equal to 2s.

      - Diffusion blurs boundary (discussed in detail below)

Simply: D = RT/NAf, ([D] = cm2/s as RT has units of(g cm2)/(s2 . mole) and f has units of g/s)

x ~

      - Variance of f w/ T, due to variance of (T).  Define w/r to standard conditions: 20oC in water:

      - s depends on M and f (shape).

sphere: f0  = 6R0 and 4/3.R03 = V0 = M/NA

( s* = ,

here, 0 is means 0 concentration, that is low concentrations so you avoid concentration effects

See Figure 5.14, variance due to non-sphericity.(only globular proteins fit curve).

      - If know M, can use s to get shape factor

f  = 6Rs, where s is the stokes radius

      - Density gradient – use buoyant force, can separate different densities (example sickle red cells).

  - Electrophoresis

Now have F = ZeE, fv = ZeE.

Mobility, U = v/E = Ze/f

Sphere: U = Ze/(6R)

  - Movement on a gel. (see math supplement)

1.

D = diffusion constant

 = mobility of molecule

F = force of molecule at position x

- C(x, t=0) = N.(x-x0), where .(x-x0) is the dirac delta function.

F(x) = F, constant (ZeE) for electrophoresis

Define

C(x,t) =

(k,0) = N

Put in differential equation

This is a gaussian centered around x = xo + Ft***

With rms of , velocity = F,

 = 1/(6r) with r = radius and  = viscosity

D = kBT

Do simple examples of 1D diffusion

See Maple animations (gelg and explain, newgelg)

  - Running DNA on a gel

    - Closed small plasmids run as rigid particles

        - See discrete bands (more below)

    - Long DNA (10-50kb)

Persistence length = 500-600 angstroms, goes as 1/mass (tunnels)

Say #cations = DNA charge

Separation causes force – more work to separate

- If lots of cations get screnning

Ci = concentration of ion, Zi = charge of ion

    - 2-D Electrophoresis ( Pulsed Field electrophoresis

DNA snakes its way through

Migrates as 1/mass, i.e. 1/length

( Genome project (was $1 per base pair)

Using Saenger method

3'-GAATCTAGCTC –

5'-CTTAG

Mix DNA polymerase I, nucleotides and labeled didexoy base analogs (dATP, dTTP, dCTP, dGTP, each labeled with different fluorescent dye).  Used to mix with one didexoy at a time.

Run gel.

    - Running plectonemic helices

      - Review from chapter1

L, T, W, L = T + W

Supercoiling important in vivo

      - For DNA of several Kbp main effect on mobility is radius, as radius decreases it becomes more mobile.

Since twist is approximately constant, mobility goes as writhe and hence L which is an integer (for same length).

      - If nick DNA they all run together

      - For a large number of base pairs, if add a few more, doesn’t make a difference

      - If have DNA plectonemic helices of a defined length, and run on gel, get a gaussian distribution of bands due to topoisomers, difference in writhe due to difference in linking number.

  - Determination of Helical Repeat of DNA (Wang, 1979)

    - Definitions

# base pairs = n + x

l0  = distance between bands

h = helical repeat

    - Hypothesis

      - If x is an integral number multiple of h then no change in pattern

L = T + W ( L+x = T + x + W, W stays same

b.  If x is not an integral multiple of h then pattern shifted by(x/h) l0

T = integrated twist angle/2if increase T by 1 you have added h base pairs.  T ( T + 22= T + 1, if increase by P/2 T ( T + ½ ( Writhe must go down by ½ , shift = (x/h) l0  = l0/2

    - Example, Say we have

| Original | Increase x by integer | Increase x by non-integer |
| --- | --- | --- |
| T | W | L | Position | T | W | L | Position | T | W | L | Position |
| 90 | 10 | 100 | -9 | 91 | 9 | 100 | -9 | 90.2 | 9.8 | 100 | -8.8 |
| 90 | 11 | 101 | -10 | 91 | 10 | 101 | -10 | 90.2 | 10.8 | 101 | -9.8 |
| 90 | 12 | 102 | -11 | 91 | 11 | 102 | -11 | 90.2 | 11.8 | 102 | -10.8 |

Wang found that h = 10.4 ± 0.1

Slightly different than W-C (crystal)

Is twist constant?

- Light Scattering (Chapter 7 (Van Holde) and more)

  - Single Particle – Rough Treatment

Isotropic small particle ; excite molecule and it accelerates and reradiates.

Incident: and falls off as 1/r.

The scattering angle, , is defined w/r transmitted light in the scattering plane.  The scattering plane is defined by the vectors k and k0.

For Horizontally polarized light:

, IH = Is/I0 =

For Vertically polarized light:

IV = Is/I0 =

For unpolarized light:

Is/I0 = ½ (IV + IH) =

  - Dilute “gas” of small particles.

Classius-Mosotti: n2 – 1 = 4N, where n is the index of refraction, N is the number of particles per unit volume.  For a gas n ~ 1.

Taylor Series expansion: n ( 1 + (dn/dc)c + …

dn/dc ~ n/c – how n changes w/c, c being the mass concentration.

( n2 = 1 + 2(dn/dc)c + (dn/dc)2c2 + ... ( 1 + 2(dn/dc)c

( 2c(dn/dc) = 4N,  = , with M = molecular weight and NA = avogadro’s number. [c/N = M/NA:  (mass/volume)/(moles x NA/volume) = (mass/mole)/NA]

(  (unpolarized)

scattered light/volume ( is

, so goes as M.

  - Macromolecules in solution.

    - Without interaction

n2 – 1 ( n2 – no2, where no is the index of refraction of the medium.

Take n ( no ( n2 – no2 = (n + no)(n – no)

( (n+no)dn ( 2 no(dn/dc)c

See demo of disappearing beaker.

R = Rayleigh ratio =

K =

    - Add small interaction

Kc/ R = 1/M ( Kc/ R = 1/M + 2Bc

B = 2nd virial coefficient – fudge factor.

  - Large Macromlecules s > 25 nm (polymers)

Can get size and molecular weight

Phase difference

At  = 0, get no phase difference – have scattering from different parts of the particle but the difference in spatial phase within the particle is made up by temporal phase at  = 0.  At large  have big phase difference.  Remember, phase difference is q. r and

Define P() = ratio of scattering of extended particle to an isolated small particle (dipole) where interference is ignored.

P() = with N = number of scattering points, Rij = distance between them and .

For small particles, or small , qRij ( 0 and P() = 1 so we have Raleigh scattering (small particle means we have max Rij << )

First two terms: P() =

Define radius of gyration Rg2 =

| Shape | Rg |
| --- | --- |
| Sphere |  |
| Ellipsoid |  |
| Rod |  |

( P() =

thus the angular dependence gives Rg.

Now have

(

Use 1/(1-x) ( 1 + x (

Get Rg and M from Zimm Plot – Remember, for a given concentration, c, we measure ias a function of angle and calculate R.  Then calculate Kc/R.

Curve A  shows what you would get at a constant concentration, cA.  One would need to extrapolate to  = 0.  Do this for several concentration (

(straight line)

Intercept = 1/M, slope ( 2B

Curve B, , keep fixed, extrapolate to C=0 (

slope gives Rg, intercept gives 1/M

  - Polarized Light Scattering (and a more rigorous formulation of scattering).

    - The First Born Approximation and the coupled dipole approximation

In general,

is the polarizability per unit volume

involves the outer product.

is the transversality condition.

Example.  If , show ()E is perpendicular to .

Work out in class

# Born Approximation

, integral is over particle – no interaction (trasversality condition is implicit).

Coupled-Dipole Approximation.

where the sum is taken over each point polarizable group (dipole) and the field at the ith dipole is

and

and ,

is the incident electric field,  is a unit vector pointing from the ith to the jth dipoles and rij is the distance between these dipoles.  When interaction between the subunits can be ignored (when the particle is weakly polarizable) then only the first term need be included and we get the first Born approximation.

    - The Stokes Vector  (see polarization Bkgd)

the intensity and polarization state of light is fully described by the four elements of the Stokes vector,

where v, h, +, -, r, and l refer, respectively, to the vertical linear, horizontal linear, positive diagonal linear, negative diagonal linear, and right and left circular polarization components for light of arbitrary polarization, and I, Q, U, and V are, respectively, the total intensity, the difference between vertical and horizontal polarized intensities, the difference between diagonal intensities, and the difference between the circularly polarized intensities.

The Stokes’ vector is usually normalized and can be defined operationally (eg. I is the intensity with no filters, Q is the difference in intensity when a vertical vs horizontal polarizer is used, etc.)

Examples : what do these represent?  How would we represent right circularly polarized light?

Work out in class.

    - Mueller Matrices.

      - Definition

The effect of the optical properties of a substance or optical element on the Stokes vector can be written in terms of the Mueller matrix,

b.  Mueller matrices for optical elements.

Linear Polarizer:

For vertical  = 90, horizontal  = 0, and diagonal  = 45.

Circular polarizer:

, right is upper, left is lower

Retarder at ±45o:

, where  is the strain.

Examples:  Show that a vertical, horizontal, circular polarizer do what they are supposed to for incident un- and linearly polarized lights.  Show that a vertical polarizer + 90 degree retarder at 45o can act as a circular polarizer, with the polarizer first.

Work out in class. (See Maple).

Significance of Muller Matrices

        - Each element describes a change in polarization

Eg. Ir = ½ (M11 + M14) Io

IL = ½ (M11 - M14) Io

( M14 = (Ir – IL)/Io

Where Ir is the intensity of the light you get when the incident light is  Io

and IL is the intensity of the light you get when the incident light is  Io.  Thus M14 is CD in absorption and CIDS in transmission  (absorption).

In general, in absorption, each element has a direct interpretation:

where

A denotes an absorbance, LB refers to linear birefringence, LD refers to linear dichroism, CB denotes circular birefringence (or ORD) and , n, and l are the wavelength of light, index of refraction, and path length of the sample.  The subscripts h, v, l, r, + and -  refer to horizontal, vertical, left circular, right circular, +45o, and –45o polarizations.

In scattering,

The Mueller scattering matrix elements, for a randomly oriented sample, can be written (Tian and McClain, 1989)

.

The symmetry of this scattering matrix, which disappears for samples containing preferred orientation, was first demonstrated by Perrin (1942).  The uppercase elements have been called dipole elements because they do not disappear in the dipole limit (Harris and McClain, 1985).  That is, these elements are non-zero even for small particles of low polarizability where the electric field within the scattering particle is essentially equal to the incident electric field.  The lower case elements are called retardation elements or non-dipole elements because of their greater sensitivity to polarizability.  The elements h, j, and k are identically zero in the orientation average unless the induced electric field, due to interactions within the particle, is accounted for (Harris and McClain, 1985).  The elements f and g  are not necessarily zero in the dipole limit, but they are very small and hence have large contributions resulting from interactions within the particle (McClain and Ghoul, 1986).  Perrin showed that the elements h, f, j, and g are zero in the orientation average unless the particles have some inherent chirality.  Thus, these off-diagonal block elements are called helicity elements (Tian and McClain, 1989).

The element M11 describes the total intensity of scattered light.  This element is most commonly measured to provide general size information.  The other dipole elements can also be used for this purpose.  In addition, the deviation of M22 from unity and M33 from M44 is indicative of the non-spherical symmetry of the particle (Quinby-Hunt et al., 1989).  The element M14 is also known as circular intensity differential scattering (CIDS) and has been used to probe the chiral nature of particles.  The other helical elements can also be used for probing chiral structures.  In addition, these elements are useful to ascertain whether the scattering medium has any preferred orientation, as they are zero unless the particles in the medium are chiral or have some preferred orientation.  M34 can give especially sensitive information regarding particle size and polarizability, since it is the only retardation element that is not also a helical element.

The first and most difficult part of calculating the Mueller matrix for a particle is to calculate the scattered electric field for a given incident electric field.  Once the parallel and perpendicular components of the scattered field are calculated for incident parallel and perpendicular electric fields, the scattering amplitude matrix is calculated which relates these components of the incident and scattered fields as follows (Shapiro et al., 1994b):

where i and s are now superscripts referring to scattered or incident.  The prime qualifiers for h and v are necessary to distinguish the vertical and horizontal directions for the scattered light from those of the incident light. If the particle is not spherically symmetric, the orientation average of the scattering amplitude matrix elements is calculated by integrating them in terms of Euler angles over all possible orientations.  It is straightforward to calculate the Mueller matrix elements from the scattering amplitude elements, Jij (Bohren and Huffman, 1983).

    - Measurement of the Mueller Matrix

Many elements are very small, including interesting ones like CIDS.  One method of detecting small signal in large background is modulating the signal.  The method described here works for CD and CIDS.

Polarization State:

The Mueller matrix of PEM is the same as that of a retarder at 45o with   =  Sin(t) where  is the frequency of modulation (usually 50 kHz), and A is the amplitude of the modulation.  The amplitude of modulation is wavelength-dependent,  = 2ds/, with d being the width of the crystal, s is a strain factor that depends on the material and the applied voltage, and is the wavelength.

We get

We can expand the cosine and sine terms as Bessel Functions:

Cos(Asin(wt)) = J0(A) + J2(A)cos(2wt) + J4(A)cos(4wt) + …

Sin(Asin(wt))= J1(A)sin(wt) + J3(A)cos(3wt) + …

A lock-in amplifier can select signals that are oscillating either at the same or twice the frequency of a reference signal, thereby selecting either the sine or cosine terms.  A feedback servo circuit is used to keep the DC current constant, effectively normalizing by M11.

So if no final filter is used,

The DC current is M11

The 1f signal is M14/M11

The 2f signal is M12/M11

Ex – How would you get M22 and M13?

Work out in class.

  - Octopus Sperm Chromosome.

Used PLS to show DNA is perpendicular to the fiber axis.

See SEM and TEM of fiber

- TEM shows thick helical fiber with a 200 nm radius, 100 nm thick.

- Model

r' = rh cos(h) i+ rh sin(h) j + (Ph/(2 k

The polarizability tensor is defined by its magnitude along the principle axes, tangent (t), normal (n), and binormal (p) to the polymer.  Thus, where the strengths along each principle axis have a real and imaginary component.

Normally, t = derivative, normal = 2nd derivative and binormal is . Show these are perpendicular for r'.

Used  to move between these.

- Results – Figures 7 and 8 – DNA is perpendicular to fiber.

- Consistent with cholesteric crystal model.

  - Higher order DNA structure and function

    - Eukaryotic structure (Prokaryotes probably have some proteins too).

      - DNA is highly condensed (mitosis: 5000 times shorter).

      - As degree of condensation increases, knowledge of structure decreases.

    - Nucleosome

      - Evidence

          - Maurice Wilkins’ X-Ray structure gave 100 angstrom helical repeat

          - Histone proteins found in chromatin

          - Cut by DNAse every 10 nucleotides( wrapping

      - Structure

          - 146 bp wrapped around core particle (110 x 55 angstroms)

          - with H1 have 166 bp involved in double wrap

          - Recently the amount of DNA around core particle has been found to vary between 100 and 170 bp

      - 30 nm fiber (see pictures)

          - Solenoid model

            - 6-7 nucleosomes/turn

            - nucleosomes parallel to helix axis

            - space in center

          - Crossed linker model

            - Alternating sequence of nucleosomes

            - Variable diameter – depends on linker length

            - 26 nm pitch

            - filled center

      - Protein scaffold

30 nm fiber attached to protein matrix

      - Function

          - efficient compaction

          - Txn control

            - Domains: genetically distinct regions

            - In dipterian polytene chromosomes see band structure: compacted vs condensed regions, number of bands corresponds to number of genetic functions

            - Lampbrush chromosomes – unlooped active regions

            - IN other eukaryotes have differential DNAse sensitivity

            - Eg globin gene

Early embryo – adult and embryo region sensitive

Later inactive embryo region is insensitive

          - Replication and Topoisomerases

Knots and Catanes distinguished by electrophoresis

Necessary enzymes: Topo I SS DNA and Topo II for ds DNA.

# Text boxes

b

a

Fb

a

Fd

Primer

C            T             A            G

Sample - dipole

Light Source

k0



Intensity  molecular weight 2

Note: If n = no ( no scattering

R = KcM

particle

ko

k

So we get lots of forward scattering

Light source

90o Polarizer

Sample

Filter?

detector

PEM

at 45o

PEM

Quartz (strain)

Apply ac voltage – piezoelectric crystal

30 nm

fiber